Detection of Cellular Stress Biomarkers Using Plasmonic Sensors with Potential Application in Organ-on-a-Chip Platforms

Begüm Balkan Apaydın1,2

Gizem Aktuğ1,2, Dario Cattozzo Mor1,2, Johannes Heidenberger4, Mario Rothbauer4,, Jakub Dostalek1,3

1FZU-Institute of Physics, Czech Academy of Sciences, Prague 182 21, Czech Republic

2Faculty of Mathematics and Physics, Charles University, Prague 121 16, Czech Republic

3Laboratory for Life Sciences and Technology (LiST), Danube Private University, Krems 3500, Austria

4Karl Chiari Lab for Orthopaedic Biology, Department of Orthopedics and Trauma, MedUni,Vienna, Austria

balkan@fzu.cz

Abstract

Plasmonics provides a powerful toolbox for sensitive and label-free detection of biomolecules[1]. In this study, a plasmonic sensor is pursued for the detection of Matrix Metalloproteinase-3 (MMP3), a key cellular stress biomarker and a crucial indicator in the diagnosis of diseases such as rheumatoid arthritis [2,3,4]. MMP3 plays a significant role in extracellular matrix remodeling and inflammation, making its accurate and sensitive detection essential for both cell stress response and arthritis diagnosis.

We characterized a sandwich assay format for MMP3 detection using surface plasmon resonance biosensor with the gold sensor surface coated with a thiol self-assembled monolayer for covalent coupling of anti-MMP3 capture antibody. After introducing MMP3-containing samples to the sensor surface, a detection antibody specific to a different epitope of MMP3 was added and specificity in the analysis of cell-culture medium is evaluated.

A dedicated optical setup will enable sensitive and specific real-time analysis of MMP3 detection by using a miniature sensor elements through surface plasmon-enhanced fluorescence when integrated into organ-on-chip platforms. This tool wills serve for detecting biomarkers related to cell stress studies in tendon-on-chip applications. This approach will offer label-free continuous protein detection with spatial interrogation. In the future, its incorporation into broader biosensing platforms could set a new standard in clinical diagnostics and precision medicine.

References

- Longhua Guo, Joshua A. Jackman, Huang-Hao Yang, Peng Chen, Nam-Joon Cho, Dong-Hwan Kim, Nano Today, 2 (2015), 213-239.

- Batool A, Vaithilingam RD, Mohamad Hassan NH, Safii SH, Saub R. Medicine (Baltimore), 13 (2023), 102(41)

- Eun‐Mee Kim, Onyou Hwang, Journal of Neurochemistry,116(2011), 22–32.

- Parker G. Jobin, Georgina S. Butler, Christopher M. Overall, Biochimica et Biophysica Acta (BBA) - Molecular Cell Research, 11(2017), 2043-2055.

Acknowledgements

This work was supported by the Czech Science Fund, project SOMICELL (23-05908K).