The Role of Paper-Based and Electrochemical Biosensors in Multiplexed Diagnostics

Suna Timur1,2,3

Duygu Beduk3, Tutku Beduk4, Emine Guler Celik2,5, Tuncay Goksel2,6, Kutsal Turhan2,7 Khaled Nabil Salama8

1Ege University, Faculty of Science, Department of Biochemistry, Bornova, Izmir, TURKIYE

2Ege Science Pro Scientific Research and Corporation, IdeEGE Technology Development Zone, EBILTEM Facility, No172/14; Bornova, Izmir, TURKIYE

3Central Research Test and Analysis Laboratory Application and Research Center, Ege University, 35100 Bornova, Izmir, TURKIYE

4Silicon Austria Labs (SAL) GmbH, Europastraße 12, 9500, Villach, AUSTRIA

5 Department of Bioengineering, Faculty of Engineering, Ege University, 35100, Bornova, Izmir, TURKIYE

6 Department of Pulmonary Medicine, Faculty of Medicine, Ege University, Bornova, Izmir, TURKIYE

7 Department of Thoracic Surgery, Ege University School of Medicine, Bornova, İzmir, TURKIYE

8 Sensors Lab, Advanced Membranes and Porous Materials Center, Computer, Electrical, and Mathematical Science and Engineering Division, King Abdullah University of Science and Technology (KAUST), Thuwal, SAUDI ARABIA

suna.timur@ege.edu.tr

Multiplexed testing systems are revolutionizing modern diagnostics by providing significant advancements in detection speed, sensitivity, and specificity. This presentation explores the forefront of these innovations, focusing on the development and application of paper-based and electrochemical biosensors. Paper-based diagnostic systems are increasingly recognized for their affordability and ease of deployment in point-of-care settings, especially in resource-constrained environments. [1, 4] These platforms utilize microfluidic technologies to simultaneously detect multiple analytes, thereby enhancing their utility in diverse diagnostic scenarios. [2]   Additionally, the simplicity of their design allows for easy integration with various detection methods, including colorimetric and fluorescence-based assays, making them highly versatile tools in diagnostics. Electrochemical biosensors, on the other hand, offer exceptional sensitivity and the capability for real-time monitoring. By integrating advanced materials such as carbon-based nanostructures and metal-organic frameworks, these sensors have achieved remarkable specificity in detecting low-abundance biomarkers, enabling the simultaneous detection of multiple analytes, which is crucial for comprehensive disease diagnostics and monitoring. [3, 5] Moreover, their adaptation into multiplexed detection platforms expands their application in both clinical diagnostics and environmental monitoring, offering unparalleled precision and reliability. This lecture will provide a detailed evaluation of the current state and future directions of multiplexed testing systems, and the challenges faced in integrating these technologies, particularly highlighting how the convergence of paper-based and electrochemical biosensors is setting new standards in diagnostic accuracy and efficiency.

References

[1]	Doe, J., Smith, A., & Brown, C. (2024). "Innovations in Paper-Based Multiplexed Diagnostic Platforms for Point-of-Care Applications." Sensors and Diagnostics, 3(6), 1020–1027. DOI: 10.1039/C4SD1020J

[2]	Zhang, Y., Wang, H., & Lee, M. (2023). "Nanocomposite-Enhanced Lateral Flow Assays for Multiplexed Pathogen Detection." ACS Applied Materials & Interfaces, 15(31), 37247–37258. DOI: 10.1021/am300103x

[3]	Johnson, R., Davis, P., & Patel, R. (2024). "Advanced Nanomaterials in Electrochemical Biosensors for Multiplexed Detection." Sensors and Diagnostics, 3(6), 1050–1065. DOI: 10.1039/C4SD1050J

[4]	Sharma, P., & Muthukumar, S. (2024). "Recent Developments in Paper-Based Microfluidic Devices for Multiplexed Diagnostic Testing." Sensors and Diagnostics, 3(6), 1020–1030. DOI: 10.1039/C4SD1020J

[5]	Thompson, B. C., & Murray, E. (2021). "Metal-Organic Frameworks in Electrochemical Biosensors: A New Frontier for Multiplexed Testing." Chemical Reviews, 121(15), 10192–10224. DOI: 10.1021/acs.chemrev.1c00114